## Sheet1
PART 2. Preventative Maintenance Services shall include, but not be limited to, inspection, cleaning and lubrication, safety inspection, functional tests and adjustments or calibrations necessary to facilitate proper functioning of the
equipment, and replacement of worn, defective or broken parts with new parts specifically designed for the radiology equipment. Bidder shall provide preventative maintenance services, including parts, as set forth in the Agreement.
(Also refer to Paragraph 3.1 (Preventative Maintenance Services) of Appendix B (Statement of Work) of the IFB and elsewhere.
[5 empty] | Year 1 -3 | Year 4 | Year 5 | Year 6 | Year 7 | 6 Mos.
[5 empty] | Initial Term (Annually) | Option Term 1 | Option Term 2 | Option Term 3 | Option Term 4 | Option Term 5
FACILITY | LOCATION | FACILITY ROOM # | DEVICE | SERIAL# | Annual Price* | Annual Price* | Annual Price* | Annual Price* | Annual Price* | 6 month Price*
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | 3D-TOP CEILING SUP (SIEMENS OTC) | 1308
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | CONTROL PANEL (SEIMENS) | 2806
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | CR-IR 364 VEL-U RDR W/OVHD PT SPPT U-BAR (VELOCITY U CR IR 364) | 56325024
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | DELL GX780 3.0G C2DUO/4G RAM/160G HD (CPU GX780 (DELL)) | DNQ4DP1
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | ELECTRONIC BOX FOR WALL STAND (FUJI) | 47020423
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | IT 80 X-RAY CONSOLE (SIEMENS IT 80 GENERATOR) | 2453
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | IT 80 X-RAY GENERATOR (SIEMENS IT 80 GENERATOR) | 2452
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | SIEMENS COLLIMATOR | 3352
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | SIEMENS TRANSFORMER | 2301
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | SIEMENS ZE CABINET (OTC-POWER/ELECTRONICS CABINET) | 1039
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | TOUCHSCREEN 19 INCH LCD | A11C007220
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | TUBE INSERT .6-1.0 (TUBE INSERT .6-1.0) | 1138
Century Regional Detention Facility (CRDF) | CRDF - 1 | IRC RM# 4126 (DR) | TUBESV150/40/80C (4802349) (X-RAY TUBE HOUSING (SEIMENS)) | 429061
Century Regional Detention Facility (CRDF) | CRDF - 2 | MAIN RM# 7168 | CR IR 346 SINGLE PLATE IMAGE (CR READER ( FUJI)) | 56533439
Century Regional Detention Facility (CRDF) | CRDF - 2 | MAIN RM# 7168 | DELL GX780 3.0G C2DUO/4G RAM/160G HD (CPU GX 780 (DELL)) | DNM8DP1
Century Regional Detention Facility (CRDF) | CRDF - 2 | MAIN RM# 7168 | DRYPIX 5000 (PRINTER (FUJI DRY PIX 5000) | 47130059
Century Regional Detention Facility (CRDF) | CRDF - 2 | MAIN RM# 7168 | TOUCHSCREEN 19 INCH LCD | L10C024415
Men's Central Jail (MCJ) | MCJ - 1 | RM #6095 (CR) | CR IR 346 SINGLE PLATE IMAGE (READER PLATE SMART CR) | 56533438
Men's Central Jail (MCJ) | MCJ - 1 | RM #6095 (CR) | FLASH IIP DELL GX 780 | DNQ5DP1
Men's Central Jail (MCJ) | MCJ - 1 | RM #6095 (CR) | TOUCHSCREEN 19 INCH LCD (MONITOR SCREEN) | L10C024423
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | 3D-TOP CEILING SUP (SIEMENS OTC) | 1305
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | CONTROL PANEL (SEIMENS) | 2839
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | CR IR 364 T VELOCITY TABLE & READER UNIT (VELOCITY T CR IR 364) | 56540146
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | CR-IR 364 VEL-U RDR W/OVHD PT SPPT U-BAR (ELECTRONIC BOX FOR WALL STAND (FUJI)) | 47020423
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | DELL GX780 3.0G C2DUO/4G RAM/160G HD (FLASH IIP DELL GX 780) | DNN7DP1
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | IT 80 X-RAY CONSOLE | 2914
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | IT 80 X-RAY GENERATOR (SIEMENS IT 80 GENERATOR) | 2452
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | MONITOR SCREEN | L10C024408
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | SIEMENS COLLIMATOR | 3355
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | SIEMENS TRANSFORMER | 2300
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | SIEMENS ZE CABINET | 1041
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | TUBE INSERT .6-1.0 (VARIAN) SG-796B/OPTI150 | 95166-S4
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | TUBESV150/40/80C (4802349) | H218068
Men's Central Jail (MCJ) | MCJ - 2 | RM #6102 (DR) | VELOCITY U CR IR 364 (WALL BUCKY STAND (FUJI) DIGITAL READER UPRIGHT CR-IR 364 VEL-U-RDR W/OVHD PT SPPT U-BAR) | 47020424
North County Correctional Facility (NCCF) | NCCF - 1 | RM# 432A (CR) | FLASH IIP DELLGX 780 | DNR8DP1
North County Correctional Facility (NCCF) | NCCF - 1 | RM# 432A (CR) | READER PLATE SMART CR | 57035175
North County Correctional Facility (NCCF) | NCCF - 1 | RM# 432A (CR) | TOUCHSCREEN 19 INCH LCD | L10C024517
Twin Towers Correctional Facility (TTCF) | TTCF - 1 | CTC RM# M2136 | FLASH IIP DELL GX 780 | DNR7DP1
Twin Towers Correctional Facility (TTCF) | TTCF - 1 | CTC RM# M2136 | MONITOR SCREEN | A11C007222
Twin Towers Correctional Facility (TTCF) | TTCF - 1 | CTC RM# M2136 | READER PLATE SMART CR | 56533440
Twin Towers Correctional Facility (TTCF) | TTCF - 2 | CTC RM# M2138 | FLASH IIP DELL GX GX 780 | GVWJ8P1
Twin Towers Correctional Facility (TTCF) | TTCF - 2 | CTC RM# M2138 | MONITOR SCREEN | L10CO24410
Twin Towers Correctional Facility (TTCF) | TTCF - 2 | CTC RM# M2138 | PRINTER LASER DRYPIX DRYPIX4000 | 57021637
Twin Towers Correctional Facility (TTCF) | TTCF - 2 | CTC RM# M2138 | READER PLATE SMART CR | 56533441
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | 3D-TOP CEILING SUP (SIEMENS OTC) | 1304
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | CR-IR 364 VEL-U RDR W/OVHD PT SPPT U-BAR | 47020427
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | CR-IR 364 VEL-U RDR W/OVHD PT SPPT U-BAR (VELOCITY U CR IR 364) | 47020423
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | FLASH IIP DELL GX 780 | DNP6DP1
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | IT 80 X-RAY CONSOLE | 2107
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | IT 80 X-RAY GENERATOR (SIEMENS IT 80 GENERATOR) | 2451
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | SIEMENS COLLIMATOR | 3354
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | SIEMENS TRANSFORMER | 2299
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | SIEMENS ZE CABINET | 1042
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | TOUCH SCREEN 19 INCH LCD | A11C007237
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | TUBE INSERT .6-1.0 | 1780
Twin Towers Correctional Facility (TTCF) | TTCF - 3 | IRC RM# 1 | TUBESV150/40/80C (4802349) | 433182
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | 3D-TOP CEILING SUP | 1305
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | CR-IR 364 VEL-U RDR W/OVHD PT SPPT U-BAR (ELECTRONIC BOX FOR WALL STAND (FUJI)) | 47020423
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | FLASH IIP DELL GX 780 | DNL8DP1
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | IT 80 X-RAY CONSOLE | 2830
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | IT 80 X-RAY GENERATOR (SIEMENS IT 80 GENERATOR) | 2455
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | SIEMENS COLLIMATOR | 2098
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | SIEMENS TRANSFORMER | 2303
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | SIEMENS ZE CABINET (SIEMENS OTC) | 1043
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | TOUCHSCREEN 19 INCH LCD (MONITOR SCREEN) | L10C024409
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | TUBE INSERT .6-1.0 | 432804
Twin Towers Correctional Facility (TTCF) | TTCF - 4 | IRC RM# 2 | TUBESV150/40/80C (4802349) | 1662
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  |  | Preventative Maintenance Total Agreement Cost* | 0
Initial
* Price is Annual Rate - Equipment will be serviced Quarterly as defined in Appendix B, Statement of Work, Paragraph 3.2, Preventative Maintenance Services.
Bidder shall complete this Appendix D, Required Forms, Exhibit 12B and ensure its total is consistent with Appendix D, Required Forms, Exhibit 12A, Rate Schedule Pricing for Preventative Maintenance Services.
Bidder asserts that the below signed person is authorized to bind BIDDER to the PRICING represented herein.
An inaccurately calculated Bid Sheet may disqualify your Bid from consideration. Please ensure that all calculations are correct.
AUTHORIZED REPRESENTATIVE (print)
AUTHORIZED REPRESENTATIVE (signature)